# POWER GRID COMPANY OF BANGLADESH LIMITED

Construction of 230/132/33kV GIS Substation at Anwara, 230/33kV GIS Substation at Bangabandhu Hi-Tech City (Kaliakoir), 132/33kV GIS Substation at Cox’sbazar & Teknaf and 230kV GIS bay extension at existing Kaliakoir Substation (Package-1)

Under

Southern Chattogram and Kaliakoir Transmission Infrastructure Development Project.

[ Bid Identification No.: PGCB/AIIB/000308-BGD/SS/Package-1]

Addendum No. 1

- The following items in price schedule (B1, B2 & B4) shall be replaced as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The following items in price schedule (B1, B2 & B4) shall be replaced as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The  item no. 1H in price schedule-B4 (only) shall be replaced as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The  item no. 1F in price schedule-B1 (only) shall be replaced as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The  item no. 1I2 in price schedule-B1, B2 & B4 shall be revised as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The following items in Schedule-A (Scope of Work) shall be replaced as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The following items in Schedule-A (Scope of Work) shall be revised as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The following items in Schedule-A (Scope of Work) shall be revised as mentioned below:

Current items:

Shall be replaced by the following revised items:

The item no. 4F1 in price schedule-B1, B2 & B4 shall be revised as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The item 3B7 & 3B.10.ii.a in schedule-A and 3B7 & 3B.10.2.a in price schedule (schedule B1, B2 & B4) shall have its quantity to be 30 instead of 24.

- The following items in Schedule-A (Scope of Work) shall be revised as mentioned below:

Current items:

Shall be replaced by the following revised items:

The item no. 4F1 in price schedule-B1, B2 & B4 shall be revised as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The description of the following sub-item 4C1 in Schedule-A (Scope of Work) shall be revised as mentioned below:

Current items:

Shall be replaced by the following revised items:

- The following clause in Schedule-A (Scope of Work) shall be revised as mentioned below:

1.6	Training and Inspection

b) International Witnessing: The following engineers nominated by the Employer shall participate in the inspection and witnessing of factory acceptance tests at manufacturers' works as follows:

| SL | Description | No. of Engineers | Duration (Days) excluding travelling time | No. of Trip/ Visit (Minimum) |
| --- | --- | --- | --- | --- |
|  |  | Each Visit |  |  |
|  | Transformers 230/132/33kV, 250/350MVA | 02 | 10 | 1 |
|  | Transformers 230/33kV, 120/140MVA | 02 | 10 | 1 |
|  | Transformers 132/33kV, 80/120MVA | 02 | 10 | 3 |
|  | 230kV GIS | 02 | 10 | 1 |
|  | 132kV GIS | 02 | 10 | 2 |
|  | Circuit Breaker (400 & 230kV) |  | 0 | 0 |
|  | Bus Reactor & Shunt Reactor |  | 0 | 0 |
|  | Disconnector (400 & 230kV) |  | 0 | 0 |
|  | Instrument Transformer (400 & 230kV) |  | 0 | 0 |
|  | Lightning Arrester (400 & 230 kV) |  | 0 | 0 |
|  | Control, protection & SAS | 02 | 7 | 1 |
|  | Communication Equipment and SCADA gateway | 02 | 7 | 1 |
|  | DC system (Battery & Charger system | 02 | 7 | 0 |

- The following items in Schedule-E (GTP & requirement Form: Transformer 230/132/33kV, 250/350MVA, 3-Phase Auto Transformer, 230/33kV, 120/140MVA, 3-Phase Power Transformer and 132/33kV, 80/120MVA, 3-Phase Power Transformer) shall be replaced as mentioned below:

| 3.4 | Guaranteed losses |  |  |  |
| --- | --- | --- | --- | --- |
| 3.4.1 | No-load losses with tap changer in nominal position: - at rated voltage and rated frequency - at 110 % rated voltage, at rated frequency | kW kW | Insert Insert |  |
|  | - No-load losses with tap changer in plus (+) extreme position: (at 110 % rated voltage, at rated frequency) | kW | Insert |  |
|  | - No-load losses with tap changer in minus (-) extreme position: (at 90 % rated voltage, at rated frequency) | kW | Insert |  |
|  | Average No-Load Loss of the above item no. a, b, c & d (this average value will be evaluated) | kW | Insert |  |
| 3.4.2 | No-load losses capitalized value | BDT/kW | As per Tender Requirement |  |
| 3.4.3 | Tolerance to be applied to no-load losses in % of the guaranteed value | % | 10 |  |
| 3.4.4 | On-load losses at 75°C |  |  |  |
|  | On-load losses at 75°C with tap changer in nominal position: - at rated voltage and rated frequency - at 110 % rated voltage, at rated frequency | kW kW | Insert |  |
|  | - On-load losses at 75°C, with tap changer in plus (+) extreme position (at 110 % rated voltage, at rated frequency) | kW | Insert |  |
|  | - On-load losses at 75°C, with tap changer in minus (-) extreme position (at 90 % rated voltage, at rated frequency) | kW | Insert |  |
|  | Average On-load losses of the above item no. a, b, c & d (this average value will be evaluated) | kW | Insert |  |
| 3.4.5 | On-load losses capitalized value | BDT/kW | As per Tender Requirement |  |
| 3.4.6 | Tolerance to be applied to on-load losses in % on the guaranteed value | % | 10 |  |

- The clause 4.3.11 Losses and Evaluation of Losses of Volume-2 of Bid Document shall be modified as follows:

Explanation of the N & L in the formula of Evaluated price of transformer loss = (N * a + L * b + M * c) shall be revised as follows:

N= Average No-load loss (core-loss) at rated voltage in kW

L= Average Load loss (copper-loss) at 75 °C, 50 Hz maximum continuous rating in kW

- Volume 2 of 3, SECTION-17, Power Cables and Cable Terminating Accessories clause 17.3.3

The referred clause (17.3.3) of V-2 shall be revised as “Short circuit earth fault rating of cable metal sheath or metallic screen for 400kV, 230kV, 132kV & 33kV cable shall be at least 63kA/1s, 50kA/1s, 40kA/1s and 31.5kA/1s respectively.”

- The item 16 & 17 of the 230kV and 132kV XLPE Power Cables shall be revised as follows:

Current items:

Shall be replaced by the following revised items:

- The following clause 5.8.25 of section-5 of volume-2 of bid document shall be modified as follows:

The above clause shall be replaced by-

5.8.25 	   Deleted.

- The following items in the GTP of capacitor bank and equipment 132kV (mentioned in schedule-E of V-3) shall be revised as follows:

Current items:

Shall be replaced by the following revised items:

- Volume 3 of 3, Schedule B Tender PRICES & SCHEDULES, Schedule No. 4. Installation and Other Services, SECTION-I for Hi-Tech 230/33kV Gas Insulated Substation:

Item 1M1 is revised; Item 1M3 ii. b) is added after Item 1M3 ii. a) and Item 1M4 v. is revised as follows:

| 1M | Civil Works, Building and Foundation |  |  |  |
| --- | --- | --- | --- | --- |
| 1M1* | Complete land development and slope protection |  |  |  |
|  | i. | Complete compacted land development with carried/dredged earth filling including approach road | cubic meter | 10658 |
|  | ii. | Slpoe protection |  |  |
|  | a) | Slpoe (1V:2H) protection with turfing | sqm | 650 |
| 1M3* | ii. | Outdoor equipment foundation in 230kV switchyard |  |  |
|  | b) | GIL support structure foundation | Lot | 1 |
| 1M4** | GIS cum control room building & Ansar barack |  |  |  |
|  | v. | Single Storied Ansar Barack (5.1mx19.75m) | sqm | 10.725 |
|  | * actual payment shall be as per actual work at site during execution stage ** measurement method = clear length x clear width x no. of story |  |  |  |

- The item no. 4E4 in price schedule-B1, B2 & B4 shall be revised as mentioned below:

Current items:

Shall be replaced by the following revised items: